Timothy Nguyen, Brandon Colon, and Dr.  E. Chang

York College, Department of Chemistry

Title: “Purification of Peptides Through the Use of HPLC, Poros 20 R2, and Mass Spectrometry”

Abstract

In this study we attempted to manipulate samples of peptides in order to strengthen their presence for further research related to phosphopeptide ionization and fragmentation.  With the help of the HPLC, all unnecessary materials were filtered out leaving behind a greater quality of the desired sample (peptide) over a period of time.  Poros 20 R2 packing material served a similar purpose, using less technology.  The mass spectrometer (MALDI TOF and LTQ) was then used to identify the presence of the peptide within a certain range of that time.